DRAFT — PM REVIEW

Submittal Review — 157.1

Operable Partitions - SD

Overall Status:  CONDITIONAL

Project:  0309A

Spec Section:  10 22 39 - Folding Panel Partitions

CSI Division:  10

Type:  Shop Drawing

Contractor:  The Best Company

Submittal Package:  BP 24 - Specialties

Manufacturer:  —

Model Number:  —

Confidence Tier:  yellow

Recommended Response:  Approved as Noted

Conformance Checks

Items below confidence threshold (95%) are marked 'Requires PM judgment'.

✓  Submittal cover sheet is complete (project #, sub name, spec section, date)  (Cover sheet contains project 0309A, sub (The Best Company), spec 10 22 39, and dates)

✓  Submittal number and revision matches the submittal log  (157.1 (Rev 1))

◻  Requires PM judgment — Sub has stamped and signed the submittal  (Stamp presence could not be verified from extracted text)

✓  Spec section referenced matches the scope being submitted  (10 22 39 Folding Panel Partitions matches scope)

◻  Requires PM judgment — Manufacturer appears in the spec's approved manufacturer list  (Spec book not loaded in v1 — PM must verify against Part 2 Products list)

✓  Shop drawings show actual project dimensions, not generic drawings  (Attachments reference project-specific opening locations and dimensions)

⚠  Coordination dimensions tie to structural drawings (steel beam condition)  (Drawings show partition head connection to steel beam; no evidence the submittal was routed to the steel fabricator for coordination)

✓  Submittal is complete — no 'additional data to follow' placeholders  (All sheets numbered consecutively; no placeholder language detected)

Historical Pattern Flags

⚠  Missing Multi-Trade Coordination — Operable partitions historically require routing to the steel fabricator for beam coordination. Confirm submittal copy has been distributed to the steel sub before architect review.

ℹ  Multi-Round Trades (Plan for R2+) — This is already R1; confirm R0 comments have been fully addressed before architect re-review.

Suggested PM Action

Confirm this submittal has been routed to the steel fabricator for beam coordination, then forward to architect.

Willowbrook Submittal Review Skill v1.0  |  Generated 2026-04-24T14:30:00-05:00  |  DRAFT — PM is the publish button.